## Slide 1
AI Infrastructure And The Power System Reset (2026)
U.S. DC load 2023 | 176 TWh | Large and growing share of demand
U.S. DC load 2028 range | 325-580 TWh | High planning uncertainty
U.S. sales growth 2026 | 1% | Demand recovery continuation
U.S. sales growth 2027 | 3% | Step-up year
https://www.energy.gov/articles/doe-releases-new-report-evaluating-increase-electricity-demand-data-centers | https://www.eia.gov/pressroom/releases/press582.php | https://www.eia.gov/outlooks/steo/ | https://www.iea.org/reports/electricity-mid-year-update-2025 | https://www.iea.org/reports/electricity-2025 | https://www.pjm.com/markets-and-operations/resource-adequacy-planning/load-forecast-development | https://www.energy.gov/articles/doe-releases-new-report-evaluating-increase-electricity-demand-data-centers | https://www.eia.gov/pressroom/releases/press582.php | https://www.eia.gov/outlooks/steo/ | https://www.iea.org/reports/electricity-mid-year-update-2025 | https://www.iea.org/reports/electricity-2025 | https://www.pjm.com/markets-and-operations/resource-adequacy-planning/load-forecast-development

## Slide 2
Executive Agenda And Decision Flow
Signals | Validated demand baseline | CEO/CFO
Constraints | Bottleneck map | COO
Options | Tradeoff decision | Strategy office
Execution | Quarterly roadmap | PMO
https://www.energy.gov/articles/doe-releases-new-report-evaluating-increase-electricity-demand-data-centers | https://www.eia.gov/pressroom/releases/press582.php | https://www.eia.gov/outlooks/steo/ | https://www.iea.org/reports/electricity-mid-year-update-2025 | https://www.iea.org/reports/electricity-2025 | https://www.pjm.com/markets-and-operations/resource-adequacy-planning/load-forecast-development | https://www.energy.gov/articles/doe-releases-new-report-evaluating-increase-electricity-demand-data-centers | https://www.eia.gov/pressroom/releases/press582.php | https://www.eia.gov/outlooks/steo/ | https://www.iea.org/reports/electricity-mid-year-update-2025 | https://www.iea.org/reports/electricity-2025 | https://www.pjm.com/markets-and-operations/resource-adequacy-planning/load-forecast-development

## Slide 3
Executive Synthesis
Demand growth | Re-accelerating | Plan for high case
Queue certainty | Low-moderate | Prioritize certainty zones
Mix resilience | Uneven by market | Diversify by design
Execution readiness | Fragmented | Single governance model
https://www.energy.gov/articles/doe-releases-new-report-evaluating-increase-electricity-demand-data-centers | https://www.eia.gov/pressroom/releases/press582.php | https://www.eia.gov/outlooks/steo/ | https://www.iea.org/reports/electricity-mid-year-update-2025 | https://www.iea.org/reports/electricity-2025 | https://www.pjm.com/markets-and-operations/resource-adequacy-planning/load-forecast-development | https://www.energy.gov/articles/doe-releases-new-report-evaluating-increase-electricity-demand-data-centers | https://www.eia.gov/pressroom/releases/press582.php | https://www.eia.gov/outlooks/steo/ | https://www.iea.org/reports/electricity-mid-year-update-2025 | https://www.iea.org/reports/electricity-2025 | https://www.pjm.com/markets-and-operations/resource-adequacy-planning/load-forecast-development

## Slide 4
Demand Signals (2024-2028)
LBNL historical load | 58 to 176 TWh | High
LBNL 2028 range | 325-580 TWh | Medium
EIA 2026 growth | 1% | Medium-High
EIA 2027 growth | 3% | Medium
https://www.energy.gov/articles/doe-releases-new-report-evaluating-increase-electricity-demand-data-centers | https://www.eia.gov/pressroom/releases/press582.php | https://www.eia.gov/outlooks/steo/ | https://www.iea.org/reports/electricity-mid-year-update-2025 | https://www.iea.org/reports/electricity-2025 | https://www.pjm.com/markets-and-operations/resource-adequacy-planning/load-forecast-development | https://www.energy.gov/articles/doe-releases-new-report-evaluating-increase-electricity-demand-data-centers | https://www.eia.gov/pressroom/releases/press582.php | https://www.eia.gov/outlooks/steo/ | https://www.iea.org/reports/electricity-mid-year-update-2025 | https://www.iea.org/reports/electricity-2025 | https://www.pjm.com/markets-and-operations/resource-adequacy-planning/load-forecast-development

## Slide 5
System Capacity And Queue Reality
Interconnection queue | High | Early queue strategy
Transmission upgrades | High | Joint utility planning
Permitting | Medium-High | Parallel approval tracks
Critical equipment | Medium | Long-lead procurement
https://www.energy.gov/articles/doe-releases-new-report-evaluating-increase-electricity-demand-data-centers | https://www.eia.gov/pressroom/releases/press582.php | https://www.eia.gov/outlooks/steo/ | https://www.iea.org/reports/electricity-mid-year-update-2025 | https://www.iea.org/reports/electricity-2025 | https://www.pjm.com/markets-and-operations/resource-adequacy-planning/load-forecast-development | https://www.energy.gov/articles/doe-releases-new-report-evaluating-increase-electricity-demand-data-centers | https://www.eia.gov/pressroom/releases/press582.php | https://www.eia.gov/outlooks/steo/ | https://www.iea.org/reports/electricity-mid-year-update-2025 | https://www.iea.org/reports/electricity-2025 | https://www.pjm.com/markets-and-operations/resource-adequacy-planning/load-forecast-development

## Slide 6
Generation Mix Implications
Gas-heavy | High | Medium-High | Low-Medium
Balanced mix | High | Medium | Medium
Renewable-heavy | Medium | Low-Medium | High
https://www.energy.gov/articles/doe-releases-new-report-evaluating-increase-electricity-demand-data-centers | https://www.eia.gov/pressroom/releases/press582.php | https://www.eia.gov/outlooks/steo/ | https://www.iea.org/reports/electricity-mid-year-update-2025 | https://www.iea.org/reports/electricity-2025 | https://www.pjm.com/markets-and-operations/resource-adequacy-planning/load-forecast-development | https://www.energy.gov/articles/doe-releases-new-report-evaluating-increase-electricity-demand-data-centers | https://www.eia.gov/pressroom/releases/press582.php | https://www.eia.gov/outlooks/steo/ | https://www.iea.org/reports/electricity-mid-year-update-2025 | https://www.iea.org/reports/electricity-2025 | https://www.pjm.com/markets-and-operations/resource-adequacy-planning/load-forecast-development

## Slide 7
Strategic SWOT For Hyperscale Build Programs
Queue uncertainty | Certainty-weighted sequencing | Strategy + PMO
Policy shifts | Scenario triggers | Finance
Execution delays | Integrated program controls | Operations
Supply concentration | Portfolio diversification | Energy team
https://www.energy.gov/articles/doe-releases-new-report-evaluating-increase-electricity-demand-data-centers | https://www.eia.gov/pressroom/releases/press582.php | https://www.eia.gov/outlooks/steo/ | https://www.iea.org/reports/electricity-mid-year-update-2025 | https://www.iea.org/reports/electricity-2025 | https://www.pjm.com/markets-and-operations/resource-adequacy-planning/load-forecast-development | https://www.energy.gov/articles/doe-releases-new-report-evaluating-increase-electricity-demand-data-centers | https://www.eia.gov/pressroom/releases/press582.php | https://www.eia.gov/outlooks/steo/ | https://www.iea.org/reports/electricity-mid-year-update-2025 | https://www.iea.org/reports/electricity-2025 | https://www.pjm.com/markets-and-operations/resource-adequacy-planning/load-forecast-development

## Slide 8
Top Risks And Mitigations
Queue delay | High | High | Dual-track interconnection strategy
Transmission lag | High | High | Utility partnership plan
Permitting delay | Medium | High | Parallel permitting tracks
Capex inflation | Medium | Medium-High | Indexed procurement strategy
https://www.energy.gov/articles/doe-releases-new-report-evaluating-increase-electricity-demand-data-centers | https://www.eia.gov/pressroom/releases/press582.php | https://www.eia.gov/outlooks/steo/ | https://www.iea.org/reports/electricity-mid-year-update-2025 | https://www.iea.org/reports/electricity-2025 | https://www.pjm.com/markets-and-operations/resource-adequacy-planning/load-forecast-development | https://www.energy.gov/articles/doe-releases-new-report-evaluating-increase-electricity-demand-data-centers | https://www.eia.gov/pressroom/releases/press582.php | https://www.eia.gov/outlooks/steo/ | https://www.iea.org/reports/electricity-mid-year-update-2025 | https://www.iea.org/reports/electricity-2025 | https://www.pjm.com/markets-and-operations/resource-adequacy-planning/load-forecast-development

## Slide 9
12-Quarter Execution Roadmap
Q1-Q2 | Scenario and siting complete | Approved priority map
Q3-Q4 | Permits and procurement | >=80% critical path secured
Y2 | Build and integrate | Schedule variance <10%
Y3 | Optimize and expand | Availability and ROI targets met
https://www.energy.gov/articles/doe-releases-new-report-evaluating-increase-electricity-demand-data-centers | https://www.eia.gov/pressroom/releases/press582.php | https://www.eia.gov/outlooks/steo/ | https://www.iea.org/reports/electricity-mid-year-update-2025 | https://www.iea.org/reports/electricity-2025 | https://www.pjm.com/markets-and-operations/resource-adequacy-planning/load-forecast-development | https://www.energy.gov/articles/doe-releases-new-report-evaluating-increase-electricity-demand-data-centers | https://www.eia.gov/pressroom/releases/press582.php | https://www.eia.gov/outlooks/steo/ | https://www.iea.org/reports/electricity-mid-year-update-2025 | https://www.iea.org/reports/electricity-2025 | https://www.pjm.com/markets-and-operations/resource-adequacy-planning/load-forecast-development

## Slide 10
Recommendations And Next Decisions
1 | Approve scenario framework | CEO/CFO | 30 days
2 | Finalize priority regions | Strategy/Ops | 60 days
3 | Launch mitigation programs | PMO | 90 days
4 | Implement gate governance | Exec committee | Quarterly
https://www.energy.gov/articles/doe-releases-new-report-evaluating-increase-electricity-demand-data-centers | https://www.eia.gov/pressroom/releases/press582.php | https://www.eia.gov/outlooks/steo/ | https://www.iea.org/reports/electricity-mid-year-update-2025 | https://www.iea.org/reports/electricity-2025 | https://www.pjm.com/markets-and-operations/resource-adequacy-planning/load-forecast-development | https://www.energy.gov/articles/doe-releases-new-report-evaluating-increase-electricity-demand-data-centers | https://www.eia.gov/pressroom/releases/press582.php | https://www.eia.gov/outlooks/steo/ | https://www.iea.org/reports/electricity-mid-year-update-2025 | https://www.iea.org/reports/electricity-2025 | https://www.pjm.com/markets-and-operations/resource-adequacy-planning/load-forecast-development